4.6 Cleaning Requirements

- The autoclave shall be designed to allow effective and reproducible cleaning of all product-contact and non-contact surfaces.

- All product-contact parts shall be made of smooth, non-reactive, corrosion-resistant materials and shall be free from crevices and dead legs.

- Internal surfaces shall have a suitable surface finish (e.g., Ra ≤ specified value) to facilitate cleaning.

- The system shall be designed to ensure complete drainage and avoid water accumulation.

- The equipment shall be capable of manual cleaning and/or CIP (Clean-in-Place), as applicable.

- All piping and components shall be designed to minimize dead legs and ensure proper flow during cleaning.

- The supplier shall provide cleaning procedures and recommended cleaning agents.

- The system shall allow visual inspection of critical areas or provide suitable alternatives (e.g., boroscope access).

- Cleaning validation shall be supported, and the system shall be designed to prevent cross-contamination.

- All seals, gaskets, and elastomers shall be compatible with cleaning agents and operating conditions.

- The system shall ensure that no residues, contaminants, or cleaning agents remain after cleaning.

- The supplier shall provide necessary documentation to support cleaning validation (if applicable).